## Slide 1
OVERVIEW OF OT SECURITY
Operational Technology Security
Operational Technology (OT) involves hardware and software that monitors and controls physical processes, devices, and infrastructure.
KEY SYSTEMS
INDUSTRIAL CONTROL SYSTEMS (ICS), SCADA, PLCS, AND DISTRIBUTED CONTROL SYSTEMS (DCS).
CORE DIFFERENCES: OT VS. IT
PRIORITY: AVAILABILITY AND PHYSICAL SAFETY (OT) VS. DATA CONFIDENTIALITY/INTEGRITY (IT).
ENVIRONMENT: OFTEN UTILIZES LEGACY, PROPRIETARY, OR CONSTRAINED HARDWARE.
CONVERGENCE: INCREASING INTERCONNECTIVITY WITH IT NETWORKS CREATES NEW ATTACK VECTORS.
Security Focus: Identifying vulnerabilities in critical infrastructure and managing risks in converged IT/OT environments.

## Slide 2
What is Operational Technology (OT)?
Monitoring and controlling physical processes and infrastructure
DEFINITION
  Hardware and software systems designed to monitor or control physical processes, devices, and industrial operations.
CORE INDUSTRIES
  Critical sectors including Manufacturing, Power grids, Water treatment, Transportation, Oil & Gas, and Building Automation.
IT VS. OT DISTINCTION
  IT manages digital information; OT focuses on cyber-physical interactions, controlling real-world machinery like valves and actuators.
OT IS DEFINED BY ITS 'CYBER-PHYSICAL' NATURE, PRIORITIZING THE SAFETY AND OPERATIONAL CONTINUITY OF PHYSICAL INFRASTRUCTURE OVER PURE DATA PROCESSING.

## Slide 3
IT vs. OT: Critical Differences
Understanding the shifting priorities between information and operational systems
IT (Information Technology)
Focuses on data, business systems, and applications. Priorities prioritize confidentiality and data integrity, where the primary risk is unauthorized access.
OT (Operational Technology)
Focuses on physical processes, machinery, and production. Priorities center on safety and equipment availability, where the primary risk is physical catastrophe.
Key Takeaway
The priority hierarchy is inverse; IT treats downtime as a business nuisance, while OT treats downtime as a potential threat to life and equipment safety.

## Slide 4
Common OT Components
Essential hardware and software building blocks in industrial environments
FIELD DEVICES
  Physical infrastructure including sensors, actuators, motors, and valves that interact directly with the process.
CONTROLLERS
  Programmable Logic Controllers (PLC) and Remote Terminal Units (RTU) used to execute logic and manage remote operations.
SUPERVISORY SYSTEMS
  Human-Machine Interfaces (HMI) and Engineering Workstations that enable visualization and control for operators.
MANAGEMENT LAYER
  Historians and control servers responsible for data logging and system-wide management.
NETWORK
  Industrial Ethernet, serial connections, and specialized protocols facilitating communication across the environment.
THESE COMPONENTS SERVE AS THE CRITICAL BUILDING BLOCKS THAT REQUIRE CONSTANT MONITORING AND DEFENSE IN AN OT ENVIRONMENT.

## Slide 5
Why OT Security is Different
Operational Technology vs. Traditional IT Constraints
CONTINUOUS OPERATION
Systems must run 24/7/365 without any interruption.
ZERO-DOWNTIME
Production takes priority; maintenance windows are rare and costly.
MULTI-DECADE LIFECYCLES
Critical infrastructure components are designed to remain in service for over 20+ years.
LIMITED PATCHING CAPABILITY
Proprietary, legacy systems often lack modern security update mechanisms.
LEGACY PROTOCOLS
Communication standards were built for function, not security, often lacking encryption.
SAFETY-FIRST REQUIREMENTS
Physical safety and environmental stability are the ultimate priorities.
IN OT, THE SAFEST CYBERSECURITY ACTION IS NOT ALWAYS THE FASTEST; PHYSICAL SAFETY AND SYSTEM STABILITY MUST ALWAYS TAKE PRECEDENCE OVER RAPID PATCHING.

## Slide 6
Common OT Security Risks
Key vulnerabilities impacting industrial control environments
LEGACY SYSTEMS
Vulnerable OS and outdated software that cannot be patched without disrupting critical uptime.
ACCESS MANAGEMENT
Over-reliance on default credentials and insecure remote access protocols.
NETWORK ARCHITECTURE
Flat network topologies enabling lateral movement and lack of authentication between controllers.
CONFIGURATION ISSUES
Widespread unpatched vulnerabilities and unauthorized configuration changes.
THIRD-PARTY RISK
Unmonitored vendor remote access and poor visibility into supply chain components.
THE CONVERGENCE OF IT AND OT HAS EXPOSED FRAGILE LEGACY SYSTEMS, ORIGINALLY DESIGNED FOR RELIABILITY RATHER THAN SECURITY, TO MODERN THREAT ACTORS.

## Slide 7
Network Segmentation Strategy
Implementing Defense-in-Depth for IT/OT Convergence
ZONE HIERARCHY
Establish a clear path from Corporate IT through the DMZ and OT Management into the Control Network and Field Devices.
INDUSTRIAL DMZ
Utilize a buffer zone as a critical security boundary to prevent direct communication between IT and OT segments.
GRANULAR CONTROLS
Enforce traffic filtering via Firewalls, Jump Hosts for administrative access, and strict ACLs.
ZERO DIRECT ACCESS POLICY: A COMPROMISED BUSINESS WORKSTATION MUST NEVER HAVE A DIRECT PATHWAY TO INDUSTRIAL CONTROLLERS.

## Slide 8
Passive Monitoring and Change Control
Operational excellence through visibility and safety
PASSIVE MONITORING
  Observing network traffic without injecting packets to maintain integrity.
TRAFFIC BASELINING
  Establishing normal flow patterns to detect deviations and anomalies.
CONFIGURATION MONITORING
  Tracking system settings and device states to capture unauthorized changes.
ASSET IDENTIFICATION
  Mapping hardware and software inventory via traffic analysis.
PROTOCOL ANALYSIS
  Utilizing deep packet inspection to decode and understand communication standards.
KNOW THE ENVIRONMENT BEFORE SCANNING: PRIORITIZE PASSIVE OBSERVATION TO AVOID DOWNTIME ON SENSITIVE HARDWARE AND COORDINATE ALL ACTIVE SCANS WITH ENGINEERING.

## Slide 9
OT Telemetry and Suspicious Activity
Key data sources for monitoring industrial control environments
CONFIG CHANGES
Tracking modifications to device configurations.
HMI AUTHENTICATION
Monitoring logins and access attempts to Human-Machine Interfaces.
REMOTE SESSIONS
Identifying and logging all remote access connections.
FIRMWARE LOGS
Monitoring for unauthorized or unexpected firmware updates.
PROCESS ALARMS
Capturing critical operational alerts and system warnings.
SUSPICIOUS ACTIVITY INDICATORS
Unauthorized programming, unexpected device connections, controller set-point changes, and unexplained reboots.
FOCUS ON 'PROCESS-LEVEL' ANOMALIES: A PLC BEING REPROGRAMMED AT 2 AM ON A TUESDAY WITHOUT A CORRESPONDING MAINTENANCE TICKET IS A HIGH-FIDELITY INDICATOR OF A POTENTIAL SECURITY INCIDENT.

## Slide 10
INCIDENT OVERVIEW AND PROTOCOL
Realistic SOC Scenario: Unauthorized Access
THE INCIDENT
DETECTION: UNAUTHORIZED CONTRACTOR REMOTE ACCESS AT 02:00.
IMPACT: PLC CONFIGURATION ALTERED; PRODUCTION VALUES SHOWING DANGEROUS FLUCTUATIONS.
THE DILEMMA: SHOULD THE SOC IMMEDIATELY POWER OFF THE CONTROLLER?
RECOMMENDED ACTIONS
COORDINATE: IMMEDIATE COMMUNICATION WITH OT FLOOR OPERATORS AND MANAGERS.
PRESERVE: COLLECT VOLATILE LOGS FOR FORENSIC INVESTIGATION.
ANALYZE: IDENTIFY THE SPECIFIC CONFIGURATION CHANGES MADE.
ADHERE: STRICTLY FOLLOW ESTABLISHED INDUSTRIAL SAFETY PROCEDURES.
CONTAINMENT MUST CONSIDER PHYSICAL CONSEQUENCES: DON'T PULL THE PLUG. IF YOU SHUT DOWN THE WRONG PROCESS, YOU MIGHT LOSE THE ABILITY TO SAFELY REGULATE TEMPERATURE OR PRESSURE. ALWAYS CONSULT THE OT FLOOR MANAGER.

## Slide 11
Analyst OT Checklist
Standard Operating Procedure for Incident Response
IDENTIFY ASSET/FUNCTION
  Determine exactly what is being impacted.
VERIFY OWNER
  Confirm the responsible party for the specific process.
REVIEW CONFIG/REMOTE LOGS
  Analyze existing logs without invasive scanning.
CHECK NETWORK PATHS
  Map communication flows to identify anomalies.
MONITOR PASSIVELY
  Observe traffic without impacting system performance.
COORDINATE PRIOR TO ACTION
  Engage stakeholders before any intervention.
ASSESS SAFETY/AVAILABILITY
  Prioritize physical process stability.
PRESERVE EVIDENCE
  Maintain chain of custody for forensic analysis.
RESTORE SAFELY
  Return systems to operation following verified protocols.
REMEMBER: IDENTIFY, COORDINATE, ASSESS, RESTORE. NEVER ACT IN A VACUUM.

## Slide 12
Exam Decision Rules for OT Environments
Core Security Principles and Operational Guidelines
PHYSICAL PROCESS CONTROL
  OT systems govern physical operations; security must account for process integrity.
SAFETY & AVAILABILITY
  Operational continuity and human safety are prioritized over system shutdown.
LEGACY VULNERABILITIES
  Older infrastructure often lacks native security; assume low baseline security.
NETWORK SEGMENTATION
  Isolate critical segments to prevent lateral movement and reduce attack surface.
REMOTE ACCESS RISKS
  Remote entry points are high-risk vectors requiring strict authentication and monitoring.
PASSIVE SCANNING
  Prefer passive monitoring over active scanning to prevent service disruption.
CHANGE MANAGEMENT
  Configuration changes are high-value indicators; track them with high-fidelity alerts.
OPERATOR COORDINATION
  Maintain close communication with operators to prevent accidental system impacts.
CONTAINMENT STRATEGY
  Any containment action must consider potential physical impact on the process.
MEMORY AID: KNOW PROCESS → SEGMENT → CONTROL ACCESS → MONITOR PASSIVELY → VALIDATE CHANGES → PROTECT SAFETY

## Slide 13
Knowledge Check
Reviewing Key Security and Operational Concepts
WHY IS ACTIVE SCANNING RISKY?
  Fragile devices may crash due to unexpected traffic patterns.
WHAT IS THE WEAKNESS IF A CORPORATE LAPTOP HITS A CONTROLLER?
  Lack of network segmentation allows for unauthorized lateral movement.
WHAT TO CONSIDER BEFORE SHUTDOWN?
  Assess the physical safety of personnel and potential process consequences.

## Slide 14
OPERATIONAL TECHNOLOGY SECURITY
Final Summary
NATURE OF OT: CYBER-PHYSICAL SYSTEMS REQUIRING SPECIALIZED SECURITY OVERSIGHT.
CORE PRIORITIES: AVAILABILITY AND SAFETY REMAIN THE PARAMOUNT OBJECTIVES.
KEY STRATEGIES:
  Implement robust network segmentation.
  Utilize passive monitoring to maintain visibility.
  Maintain constant coordination with OT staff.
"In OT security, protecting the system means protecting the physical process behind it."
NEXT: INDUSTRIAL CONTROL SYSTEMS